Outputs
Bag
Sol IN
PS In
O2 S
Sol Rel
Flow in
Filtered Air
PS Out
Sol O2
O2 O2 O2
Relay Driver
O2 PSW
Flow Out
Sol Out
4 Digital Outputs
Arduino Mega
Arduino mega

---
Inputs
Operation mega
Display Mega
4 Digital Outputs

---
Inputs
Arduino mega
Arduino Mega
- Relay Status – 4 Channels
- Sensor Read outs – 5 Channels
- Error Codes – 1 Channel
- Relay Status – 4 Channels
- Sensor Read outs – 5 Channels
- Error Codes – 1 Channel
I2C
I2C

---
- Process
- Close Sol IN
- Open Sol Out
- If Flow Out becomes low
- Close Sol Out
- If PS Out surges → Open Sol IN → Motor High
- If PS IN reaches Pref → Close Sol IN → Open Sol Out → Motor Low
- Send Values (PS IN, PS Out, Flow In , Flow Out) Via I2C. If any values received edit P ref, Wait time
-

---
Sol IN Close
Sol Rel Open
Sol Out Open
Sol O2 Open
Initiate I2C
 message
HIGH
- Exhale
If New Values
Set values
LOW
Sol out Close
Motor low
No Surge
Wait
X
milli seconds
- Inhale
Negative Surge
Sol IN Open
Sol Rel Close
Motor High
No demand
Alert = high
O2 S > O2ref
PS IN = P ref
NO